## Slide 1: PVMapper
Functional Specifications Document Review
5/11/2012

## Slide 2: Purpose for Conference Call
Provide a high-level overview of the SunShot project
Discuss the overall objective of PVMapper
Outline the roll of the Steering Committee
Introduce the Functional Specifications Document (FSD)
Offer expectations for review of the FSD

## Slide 3: SunShot Project Overview
Develop a GIS-based project planning tool to identify optimal utility-scale solar facility sites
Develop the tool on an open-source platform
Integrate the appropriate data sets/layers
Include a measure of social risk and public acceptance
Enable customization of variable weights
Provide a free and accessible platform to download the tool
Provide a sustainability plan to ensure future relevance of the tool

## Slide 4: Objective of PVMapper
Provide a web-based Geographic Information System (GIS) project planning application designed to help solar energy developers better locate and plan large-scale solar utility projects.
Develop an open-source application that will provide the open-source community with the flexibility and freedom to further develop and focus uses of the tool.
Integrate social criteria and constraints into the siting process. This functionality is expected to decrease overall project risk by avoiding potential delays in permitting and financing due to public/interest group opposition to high risk sites, or alternatively by identifying areas with higher social acceptance that are likely uncontroversial.
Incorporate scientifically conducted surveys of public opinion that measure how much the public prefers a project to avoid or be placed near various types of land-based features.

## Slide 5: Steering Committee’s Roll
Kohler – do you have any written material that can cover this slide?

## Slide 6: Functional Specifications Document
A formal document used to describe in detail for software developers a product's intended capabilities, appearance, and interactions with users.
Serves as a guideline and continuing reference point as the developers write the programming code.

## Slide 7: FSD Format
Introduction
High Level Operation Concept
Features and Functional Requirements
Data Considerations
Constraints, Assumptions, and Dependencies
Community Code Development System and Management

## Slide 8: Introduction
Document overview
Intended use and operations concept
  Large-scale utility planning
Target users & stakeholders
  Solar power utility developers
  Authorities Having Jurisdiction (AHJ)

## Slide 9: High Level Operational Concept
Main Use Case
  User interaction with PVMapper
Workflow Process
  Description of how the user navigates PVMapper
High level design
  Information flow

## Slide 10: Features & Functional Requirements
Site Finder
Potential Power Purchaser
  Power company service territories
  Power purchaser demographics
  Properties of nearby transmission
Cost of Energy
  Local offsets
  Cost to deliver power to transmission line
  Incentives
  Energy forecast
Site Comparisons
Site Suitability
  Social, political, and environmental factors

## Slide 11: Site Finder
Large-scale map of US for identifying “hot spots”
  National-level solar insolation, slope, public lands
  Highlights areas with highest solar potential
  Provides first level cut for from which detailed areas can be selected

## Slide 12
Module
Inverter
T Line
Terminal
Compare
Suitability
SAM
Site Anal.
Transmission
Nearby Transmission
Transmission Capacity
Demographics
Service Territories
Costs
Local Offsets
To Transmission Cost
Incentives
Land Use
Zoning
Water
Subsurface
Coverage
Environmental
Social
Geography
Meteorological
Social & Environmental
Public Perception
Threatened Species
Cultural Resources
Land Use
Mode: Site Finder
Energy Forecast
Site: 4 Corners - CO
-------- PVMapper – Utility Scale Solar Site Analysis Tool -----
Direct Normal Irradiance (DNI)

## Slide 13: Potential Power Producers
Power Company Service Territories
  Helps determine potential buyers in a region
  User gets marketer's contact information from the map
  If data is missing, user will get information on local economic develop agencies
  Map will display a map of utility service areas
  User will be able to load site specific information they may already have

## Slide 14
Module
Inverter
T Line
Terminal
Compare
Suitability
SAM
Site Anal.
Transmission
Nearby Transmission
Transmission Capacity
Demographics
Service Territories
Costs
Local Offsets
To Transmission Cost
Incentives
Land Use
Zoning
Water
Subsurface
Coverage
Environmental
Social
Geography
Meteorological
Social & Environmental
Public Perception
Threatened Species
Cultural Resources
Land Use
Mode: Site Finder
Energy Forecast
Site:
-------- PVMapper – Utility Scale Solar Site Analysis Tool -----
Nearby Transmission

## Slide 15: Potential Power Producers
Power Purchaser Demographics
  Performs a search of nearby power companies
  Provides company names, addresses, contact names, phone numbers, and URLs
  User will define search radius

## Slide 16
Module
Inverter
T Line
Terminal
Compare
Suitability
SAM
Site Anal.
Transmission
Nearby Transmission
Transmission Capacity
Demographics
Service Territories
Costs
Local Offsets
To Transmission Cost
Incentives
Land Use
Zoning
Water
Subsurface
Coverage
Environmental
Social
Geography
Meteorological
Social & Environmental
Public Perception
Threatened Species
Cultural Resources
Land Use
Mode: Site Finder
Energy Forecast
Site:
-------- PVMapper – Utility Scale Solar Site Analysis Tool -----
Nearby Transmission

## Slide 17: Potential Power Producers
Properties of Nearby Transmission
  Provides users with search of nearby transmission lines
  Returns a list of attributes associated with nearby lines including:
    Company & contact information
    Transmission capacity & availability
    Distance to line
    Development cost to reach line

## Slide 18
Module
Inverter
T Line
Terminal
Compare
Suitability
SAM
Site Finder
Transmission
Nearby Transmission
Transmission Capacity
Demographics
Service Territories
Costs
Local Offsets
To Transmission Cost
Incentives
Land Use
Zoning
Water
Subsurface
Coverage
Environmental
Social
Geography
Meteorological
Social & Environmental
Public Perception
Threatened Species
Cultural Resources
Land Use
Mode: Site Analysis
Energy Forecast
Site: 4 Corners - CO
-------- PVMapper – Utility Scale Solar Site Analysis Tool -----
Company: Tucson Electric Power Co.
Voltage: 345 kV
Capacity:
Telephone: xxx-436-4442
Distance from Site: 10 miles
Connection Cost: $500k
Company: Tucson Electric Power Co.
Voltage: 500 kV
Capacity:
Telephone: xxx-436-4442
Distance from Site: 3.5 miles
Connection Cost: $300k

## Slide 19: Cost of Energy
Local Offsets
  From a selected site, user chooses an offset distance from existing county/state offsets or can enter their own value
  Tool calculates acquisition and maintenance costs based on user defined land cost parameters

## Slide 20
Module
Inverter
T Line
Terminal
Compare
Suitability
SAM
Site Finder
Transmission
Nearby Transmission
Transmission Capacity
Demographics
Service Territories
Costs
Local Offsets
To Transmission Cost
Incentives
Land Use
Zoning
Water
Subsurface
Coverage
Environmental
Social
Geography
Meteorological
Social & Environmental
Public Perception
Threatened Species
Cultural Resources
Land Use
Mode: Site Analysis
Energy Forecast
Site: 4 Corners - CO
-------- PVMapper – Utility Scale Solar Site Analysis Tool -----
Site Required Offsets
1000 ft. from surface water bodies
200 ft. from roads
2500 ft. from residential
Site Area = 1.1 sq mi
Site + Buffer Area = 1.4 sq mi
Buffer Cost = $30k
Distance from road = 250 ft.
Required Offset Met
Distance from water = 1250 ft.
Required Offset Met

## Slide 21: Cost of Energy
Cost to Deliver Power to Transmission Line
  From a selected site, user draws a line to the nearest transmission line or substation
  Tool calculates cost to develop line based on user input

## Slide 22
Module
Inverter
T Line
Terminal
Compare
Suitability
SAM
Site Finder
Transmission
Nearby Transmission
Transmission Capacity
Demographics
Service Territories
Costs
Local Offsets
To Transmission Cost
Incentives
Land Use
Zoning
Water
Subsurface
Coverage
Environmental
Social
Geography
Meteorological
Social & Environmental
Public Perception
Threatened Species
Cultural Resources
Land Use
Mode: Site Analysis
Energy Forecast
Site: 4 Corners - CO
-------- PVMapper – Utility Scale Solar Site Analysis Tool -----
Transmission to Line –
Distance: 4.2 miles
Easements: 4
Legs: 3
Leg 1: $215,000
Leg 2: $235,000
Leg 3: $340,000
Terminal Costs: $1,100,000
Total Costs: $1,890,000
Properties:
Length: 1.1 miles
Construction Cost/mi: $180k/mi
Easements: $2000/yr

## Slide 23: Cost of Energy
Incentives
  From a selected site, user is provided access to the DSIRE database
  Tool returns records form DSIRE for selected site including:
    Financial incentives
    Rules & regulations
    Polices

## Slide 24: Cost of Energy
Energy Forecast
  From a selected site, user is provided with a tool for forecasting:
    Solar radiation
    Electrical energy demand and price
    Construction costs
  Tool forecasts future estimated balance sheets for the selected site

## Slide 25: Site Comparison
Side-by-side comparison of costs and benefits for selected sites
  User selects from a list of cost items
  User can define weights for each cost item
  Comparison tool will scale comparisons and present data in a user defined table
  Tool calculates and overall site score

## Slide 26: Site Suitability
Social Political and Environmental Factors
  From a selected site(s), user can evaluate suitability from layers:
    Public perception
    Threatened/endangered species
    Cultural resource areas
    Zoning types
    Soil/geology
    Water availability
  Results will be areas to avoid based on feasibility score of overlapping layers above represented as a heat map

## Slide 27: Data Considerations
Data Management Assumptions
Data Quality
Data Overlay
  Transmission availability
  Legal/Economic/Social
  Land Use
  Geography
  Geological/Subsurface
  Meteorological
  Environmental

## Slide 28: Data Considerations
Data Management Assumptions
  User will be informed when reputable/trustworthy data are not available
  User can choose to use data contributed by others
  User will have the opportunity to add their own data in most tools
  Goal – provide data that are difficult and/or costly to obtain

## Slide 29: Data Considerations
Data Quality
  For every layer in PVMapper, user has the opportunity to see the quality level of data
    Existing authoritative Federal and State
    User contributed
    Model generated

## Slide 30: Data Considerations
Data Overlay
  Users will be able to choose from a list of GIS layers
    Transmission
    Legal/Economic/Social
    Land Use
    Geography
    Geological/Subsurface
    Meteorological
    Environmental

## Slide 31: Site Performance & Financial Calculations
SAM Inputs
SAM
NREL Servers
SAM
SAM
SAM
PVMapper
SAM
Results
The user provides SAM inputs to PVMapper
PVMapper sends inputs to NREL
NREL runs the calculations and returns results
PVMapper stores and presents results to User
Internet

## Slide 32: Data Considerations
Data Overlay
  Users will be able to choose from a list of GIS layers
    Transmission
    Legal/Economic/Social
    Land Use
    Geography
    Geological/Subsurface
    Meteorological
    Environmental

## Slide 33: Constraints, Assumptions, & Dependencies
Constraints and Assumptions
  Operating system support
  Database support
  Third party software components
  Installation and configuration
Dependencies

## Slide 34: Community Code Development System & Management
Integrated Discussion Forum(s)
Source Code Repository
Coordinated Bug Management and Feature Identification
Downloadable Software

## Slide 35: Expectations of Review

## Slide 36
Module
Inverter
T Line
Terminal
Compare
Suitability
SAM
Site Finder
Transmission
Nearby Transmission
Transmission Capacity
Demographics
Service Territories
Costs
Local Offsets
To Transmission Cost
Incentives
Land Use
Zoning
Water
Subsurface
Coverage
Environmental
Social
Geography
Meteorological
Social & Environmental
Public Perception
Threatened Species
Cultural Resources
Land Use
Mode: Site Analysis
Energy Forecast
Site: 4 Corners - CO
-------- PVMapper – Utility Scale Solar Site Analysis Tool -----

## Slide 37
Module
Inverter
T Line
Terminal
Compare
Suitability
SAM
Site Finder
Transmission
Nearby Transmission
Transmission Capacity
Demographics
Service Territories
Costs
Local Offsets
To Transmission Cost
Incentives
Land Use
Zoning
Water
Subsurface
Coverage
Environmental
Social
Geography
Meteorological
Social & Environmental
Public Perception
Threatened Species
Cultural Resources
Land Use
Mode: Site Analysis
Energy Forecast
Site: 4 Corners - CO
-------- PVMapper – Utility Scale Solar Site Analysis Tool -----